

**150BPH（5gallon）Full Filling Line water factory**

**Character:**

**Turnkey Package solutions for Water Factory**

**Suitable 3/5gallon Round bottle**

**Schneider electrical Components+Omron PLC**

**All stainless steel materials for the line**

3T/H RO Plant+ Automatic 150BPH 5gallon Filling Production Line

|  |  |  |
| --- | --- | --- |
| **Name** | **Item** | **Qty** |
| Ro water purification machine | GRA-1000I(3T/H) | 1 pcs |
| Water softener |  | 1pcs |
| CIP System |  | 1pcs |
| Ozone system | 15G/H | 1 pcs |
| Water tank (SUS304) | 3T | 1 pcs |
| UV System | 20W | 1pcs |
| 150BPH 5gallon Water Filling Line | | |
| Automatic Decapping Machine | GRA-BG(150BPH) | 1pcs |
| Automatic Outside Brushing Machine | GRA-WX(150BPH) | 1 pcs |
| Automatic Washing/Filling/Capper Machine | GRA100/J(150BPH) | 1 pcs |
| Washing /Feeding cap machine | GRA-XG(150BPH) | 1 pcs |
| LED Light inspection | GRA-DJ(150BPH) | 1 pcs |
| Heating Label shrinking Film machine | GRA-RS(150BPH) | 1 pcs |
| Full SUS304 Dynamic Conveyor (Stainless steel frame, rails, brackets) | SUS304 | 7M |
| No power slider | SUS304 | 4M |
| Air compressor with storage tank |  | 1pcs |
| **Semi-5gallon Blowing Machine** | | |
| Infrared heating machine |  | 1pcs |
| High air compressor | 1.0M3/30kg | 1pcs |
| Air Dryer | 1.0M3/30kg | 1pcs |
| Air filter | 1.0M3/30kg | 2pcs |
| Bottle mold(5gallon) | 45#steel | 1pcs |
| High pressure Pipes etc |  | 1 lot |

